## -1930
Region: | Piedmont | [7 empty] | Archetype code: | RES_APPBLOCK_-1930_E_PIE
Building category: | Residential buildings - Apartments (in multifamily blocks)
Period of construction: | < 1930
Climatic zone: | E |  |  | Number of records: |  | 58853
Description (the codes associated with walls and slabs refer to the structures described in UNI/TR 11552:2014): | [8 empty] | Data sources:
| External walls: solid brick masonry (cod. MLP01). | [8 empty] | EPC databases (100%)
Roof slabs: concrete floor slab (cod. SOL06).
| Data |  | Symbol |  | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
BUILDING GEOMETRY | Number of floors |  | nf |  | - | - | - | - | - | -
| Gross height |  | Hg |  | m | - | - | - | - | -
| Footprint area |  | Afootprint |  | m2 | - | - | - | - | -
| Heated gross floor area |  | AH;g |  | m2 | - | - | - | - | -
| Heated net floor area |  | AH;n |  | m2 | - | - | - | - | -
| Heated gross volume |  | VH;g |  | m3 | - | - | - | - | -
| Heated net volume |  | VH;n |  | m3 | - | - | - | - | -
| Compactness ratio |  | Aenv/VH;g |  | m-1 | 0.58 | 0.41 | 0.34 | 0.57 | 0.74
| WWR – North orientation |  | WWRN |  | - | - | - | - | - | -
| WWR – South orientation |  | WWRS |  | - | - | - | - | - | -
| WWR – East orientation |  | WWRE |  | - | - | - | - | - | -
| WWR – West orientation |  | WWRW |  | - | - | - | - | - | -
| Window to useful floor area ratio |  | Awi/Ause |  | - | 0.16 | 0.19 | 0.11 | 0.15 | 0.19
ENVELOPE | Roof type |  | -
| U-value of the roof |  | Ufl;up |  | W/(m2·K) | - | - | - | - | -
| External walls type |  | Solid Brick masonry: 89%; Hollow brick masonry: 8%; Unknown: 3%
| U-value of the wall |  | Uwl |  | W/(m2·K) | - | - | - | - | -
| Slab on ground floor type |  | -
| U-value of the floor |  | Ufl;lw |  | W/(m2·K) | - | - | - | - | -
| Windows type |  | -
| U-value of the windows |  | UW |  | W/(m2·K) | 3.19 | 1.24 | 2.22 | 3.03 | 4.31
| Shading system type |  | -
GAINS and VENTILATION | Occupancy density * |  | OC |  | person/m2 | UNI EN 16798-1 - Table A.19
| Lighting power density * |  | WL |  | W/m2 | UNI EN 16798-1 - A.8.3
| Equipment power density * |  | WA |  | W/m2 | UNI EN 16798-1 - A.8.3
| Type of ventilation |  | Natural: 100%
| Air exchange rate * |  | n |  | h-1 | 0.3 | 0 | 0.3 | 0.3 | 0.3
THERMAL SYSTEMS | Heating system type |  | Autonomous: 76%; Centralized: 24%
| Heating generator |  | -
| Daily operating time of the heating system * |  | tH | h |  | 14 | 0 | 14 | 14 | 14
| Energy carrier |  | Natural Gas: 80%; Electricity: 7%; District heating: 5%; Solid biomass: 4%; LPG: 2%; Gas Oil: 2%
| Heating emission sub-system |  | -
| Cooling system type |  | -
| Daily operating time of the cooling system * |  | tC | h |  | - | - |  | - | -
| Cooling emission sub-system |  | -
| DHW system type |  | Autonomous, coupled with heating: 55%; Autonomous, detached from heating: 30%; Centralized, coupled with heating: 13%; Centralized, detached from heating: 2%
| DHW generator |  | -
* These values are derived from UNI EN ISO Standards
ADDITIONAL DATA
| Data | Symbol | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
GEOMETRY: apartments | Inter-storey height | Hn | m | - | - | - | - | -
| Heated gross floor area | AH;g | m2 | - | - | - | - | -
| Heated net floor area | AH;n | m2 | 80.7 | 55.4 | 45.9 | 66.7 | 98.3
| Heated gross volume | VH;g | m3 | 342.3 | 246.2 | 192.7 | 279 | 413.5
| Heated net volume | VH;n | m3 | - | - | - | - | -
THERMAL SYSTEMS | Heating efficiency or COP | ηH;gen or COPH;gen | - | This value has to be retrieved from suitable datasheets
| Total heating power * | PH;gen | kW | 23.4 | 6.2 | 23.3 | 24 | 25.8
| Cooling efficiency or EER | ηC;gen or EERC;gen | - | This value has to be retrieved from suitable datasheets
| Total cooling power * | PC;gen | kW | 6 | 5.6 | 3 | 4 | 6.5
| Temperature of DHW | ϑW | °C | 40 | 0 | 40 | 40 | 40
| DHW system power * | PW;gen | kW | 19.4 | 9.9 | 17 | 24 | 24.6
* These values refer to the apartment scale

## 1931-1940
Region: | Piedmont | [7 empty] | Archetype code: | RES_APPBLOCK_1931-1940_E_PIE
Building category: | Residential buildings - Apartments (in multifamily blocks)
Period of construction: | 1931-1940
Climatic zone: | E |  |  | Number of records: |  | 14591
Description (the codes associated with walls and slabs refer to the structures described in UNI/TR 11552:2014): | [8 empty] | Data sources:
| External walls: solid brick masonry (cod. MLP01). | [8 empty] | EPC databases (100%)
Roof slabs: concrete floor slab (cod. SOL06).
| Data |  | Symbol |  | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
BUILDING GEOMETRY | Number of floors |  | nf |  | - | - | - | - | - | -
| Gross height |  | Hg |  | m | - | - | - | - | -
| Footprint area |  | Afootprint |  | m2 | - | - | - | - | -
| Heated gross floor area |  | AH;g |  | m2 | - | - | - | - | -
| Heated net floor area |  | AH;n |  | m2 | - | - | - | - | -
| Heated gross volume |  | VH;g |  | m3 | - | - | - | - | -
| Heated net volume |  | VH;n |  | m3 | - | - | - | - | -
| Compactness ratio |  | Aenv/VH;g |  | m-1 | 0.58 | 3.04 | 0.31 | 0.55 | 0.72
| WWR – North orientation |  | WWRN |  | - | - | - | - | - | -
| WWR – South orientation |  | WWRS |  | - | - | - | - | - | -
| WWR – East orientation |  | WWRE |  | - | - | - | - | - | -
| WWR – West orientation |  | WWRW |  | - | - | - | - | - | -
| Window to useful floor area ratio |  | Awi/Ause |  | - | 0.31 | 15.08 | 0.12 | 0.16 | 0.19
ENVELOPE | Roof type |  | -
| U-value of the roof |  | Ufl;up |  | W/(m2·K) | - | - | - | - | -
| External walls type |  | Solid Brick masonry: 79%; Hollow brick masonry: 18%; Unknown: 3%
| U-value of the wall |  | Uwl |  | W/(m2·K) | - | - | - | - | -
| Slab on ground floor type |  | -
| U-value of the floor |  | Ufl;lw |  | W/(m2·K) | - | - | - | - | -
| Windows type |  | -
| U-value of the windows |  | UW |  | W/(m2·K) | 3.23 | 1.25 | 2.26 | 3.1 | 4.35
| Shading system type |  | -
GAINS and VENTILATION | Occupancy density * |  | OC |  | person/m2 | UNI EN 16798-1 - Table A.19
| Lighting power density * |  | WL |  | W/m2 | UNI EN 16798-1 - A.8.3
| Equipment power density * |  | WA |  | W/m2 | UNI EN 16798-1 - A.8.3
| Type of ventilation |  | Natural: 100%
| Air exchange rate * |  | n |  | h-1 | 0.3 | 0 | 0.3 | 0.3 | 0.3
THERMAL SYSTEMS | Heating system type |  | Autonomous: 62%; Centralized: 38%
| Heating generator |  | -
| Daily operating time of the heating system * |  | tH | h |  | 14 | 0 | 14 | 14 | 14
| Energy carrier |  | Natural Gas: 80%; Electricity: 7%; District heating: 5%; Solid biomass: 4%; LPG: 2%; Gas Oil: 2%
| Heating emission sub-system |  | -
| Cooling system type |  | -
| Daily operating time of the cooling system * |  | tC | h |  | - | - |  | - | -
| Cooling emission sub-system |  | -
| DHW system type |  | Autonomous, coupled with heating: 46%; Autonomous, detached from heating: 42%; Centralized, coupled with heating: 10%; Centralized, detached from heating: 2%
| DHW generator |  | -
* These values are derived from UNI EN ISO Standards
ADDITIONAL DATA
| Data | Symbol | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
GEOMETRY: apartments | Inter-storey height | Hn | m | - | - | - | - | -
| Heated gross floor area | AH;g | m2 | - | - | - | - | -
| Heated net floor area | AH;n | m2 | 75.5 | 47.2 | 45.8 | 63.6 | 90.9
| Heated gross volume | VH;g | m3 | 313 | 203.1 | 188.9 | 262.5 | 376.5
| Heated net volume | VH;n | m3 | - | - | - | - | -
THERMAL SYSTEMS | Heating efficiency or COP | ηH;gen or COPH;gen | - | This value has to be retrieved from suitable datasheets
| Total heating power * | PH;gen | kW | 23.4 | 6.3 | 23.3 | 24 | 25.8
| Cooling efficiency or EER | ηC;gen or EERC;gen | - | This value has to be retrieved from suitable datasheets
| Total cooling power * | PC;gen | kW | 5.2 | 5 | 2.7 | 3.5 | 5.3
| Temperature of DHW | ϑW | °C | 40 | 0 | 40 | 40 | 40
| DHW system power * | PW;gen | kW | 18.1 | 10.2 | 10 | 23.5 | 24.1
* These values refer to the apartment scale

## 1941-1950
Region: | Piedmont | [7 empty] | Archetype code: | RES_APPBLOCK_1941-1950_E_PIE
Building category: | Residential buildings - Apartments (in multifamily blocks)
Period of construction: | 1941-1950
Climatic zone: | E |  |  | Number of records: |  | 16087
Description (the codes associated with walls and slabs refer to the structures described in UNI/TR 11552:2014): | [8 empty] | Data sources:
| External walls: solid brick masonry (cod. MLP01) or hollow brick masonry with air gap (cod. MCV01). | [8 empty] | EPC databases (100%)
Roof slabs: concrete floor slab (cod. SOL06).
| Data |  | Symbol |  | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
BUILDING GEOMETRY | Number of floors |  | nf |  | - | - | - | - | - | -
| Gross height |  | Hg |  | m | - | - | - | - | -
| Footprint area |  | Afootprint |  | m2 | - | - | - | - | -
| Heated gross floor area |  | AH;g |  | m2 | - | - | - | - | -
| Heated net floor area |  | AH;n |  | m2 | - | - | - | - | -
| Heated gross volume |  | VH;g |  | m3 | - | - | - | - | -
| Heated net volume |  | VH;n |  | m3 | - | - | - | - | -
| Compactness ratio |  | Aenv/VH;g |  | m-1 | 0.58 | 0.29 | 0.35 | 0.58 | 0.74
| WWR – North orientation |  | WWRN |  | - | - | - | - | - | -
| WWR – South orientation |  | WWRS |  | - | - | - | - | - | -
| WWR – East orientation |  | WWRE |  | - | - | - | - | - | -
| WWR – West orientation |  | WWRW |  | - | - | - | - | - | -
| Window to useful floor area ratio |  | Awi/Ause |  | - | 0.16 | 0.07 | 0.12 | 0.16 | 0.2
ENVELOPE | Roof type |  | -
| U-value of the roof |  | Ufl;up |  | W/(m2·K) | - | - | - | - | -
| External walls type |  | Solid Brick masonry: 62%; Hollow brick masonry: 35%; Unknown: 3%
| U-value of the wall |  | Uwl |  | W/(m2·K) | - | - | - | - | -
| Slab on ground floor type |  | -
| U-value of the floor |  | Ufl;lw |  | W/(m2·K) | - | - | - | - | -
| Windows type |  | -
| U-value of the windows |  | UW |  | W/(m2·K) | 3.19 | 1.24 | 2.23 | 3.02 | 4.34
| Shading system type |  | -
GAINS and VENTILATION | Occupancy density * |  | OC |  | person/m2 | UNI EN 16798-1 - Table A.19
| Lighting power density * |  | WL |  | W/m2 | UNI EN 16798-1 - A.8.3
| Equipment power density * |  | WA |  | W/m2 | UNI EN 16798-1 - A.8.3
| Type of ventilation |  | Natural: 100%
| Air exchange rate * |  | n |  | h-1 | 0.3 | 0 | 0.3 | 0.3 | 0.3
THERMAL SYSTEMS | Heating system type |  | Autonomous: 65%; Centralized: 35%
| Heating generator |  | -
| Daily operating time of the heating system * |  | tH | h |  | 14 | 0 | 14 | 14 | 14
| Energy carrier |  | Natural Gas: 80%; Electricity: 7%; District heating: 5%; Solid biomass: 4%; LPG: 2%; Gas Oil: 2%
| Heating emission sub-system |  | -
| Cooling system type |  | -
| Daily operating time of the cooling system * |  | tC | h |  | - | - |  | - | -
| Cooling emission sub-system |  | -
| DHW system type |  | Autonomous, coupled with heating: 50%; Autonomous, detached from heating: 40%; Centralized, coupled with heating: 9%; Centralized, detached from heating: 1%
| DHW generator |  | -
* These values are derived from UNI EN ISO Standards
ADDITIONAL DATA
| Data | Symbol | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
GEOMETRY: apartments | Inter-storey height | Hn | m | - | - | - | - | -
| Heated gross floor area | AH;g | m2 | - | - | - | - | -
| Heated net floor area | AH;n | m2 | 76.3 | 43.6 | 48.2 | 65.5 | 90.5
| Heated gross volume | VH;g | m3 | 309.5 | 182 | 196.2 | 264 | 365.9
| Heated net volume | VH;n | m3 | - | - | - | - | -
THERMAL SYSTEMS | Heating efficiency or COP | ηH;gen or COPH;gen | - | This value has to be retrieved from suitable datasheets
| Total heating power * | PH;gen | kW | 23.6 | 6.3 | 23.3 | 24 | 26
| Cooling efficiency or EER | ηC;gen or EERC;gen | - | This value has to be retrieved from suitable datasheets
| Total cooling power * | PC;gen | kW | 5.6 | 4.9 | 2.8 | 3.9 | 6
| Temperature of DHW | ϑW | °C | 40 | 0 | 40 | 40 | 40
| DHW system power * | PW;gen | kW | 18.5 | 10 | 12 | 23.6 | 24.3
* These values refer to the apartment scale

## 1951-1960
Region: | Piedmont | [7 empty] | Archetype code: | RES_APPBLOCK_1951-1960_E_PIE
Building category: | Residential buildings - Apartments (in multifamily blocks)
Period of construction: | 1951-1960
Climatic zone: | E |  |  | Number of records: |  | 48723
Description (the codes associated with walls and slabs refer to the structures described in UNI/TR 11552:2014): | [8 empty] | Data sources:
| External walls: hollow brick masonry with air gap (cod. MCV01). | [8 empty] | EPC databases (100%)
Roof slabs: reinforced concrete floor slab (cod. SOL04).
| Data |  | Symbol |  | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
BUILDING GEOMETRY | Number of floors |  | nf |  | - | - | - | - | - | -
| Gross height |  | Hg |  | m | - | - | - | - | -
| Footprint area |  | Afootprint |  | m2 | - | - | - | - | -
| Heated gross floor area |  | AH;g |  | m2 | - | - | - | - | -
| Heated net floor area |  | AH;n |  | m2 | - | - | - | - | -
| Heated gross volume |  | VH;g |  | m3 | - | - | - | - | -
| Heated net volume |  | VH;n |  | m3 | - | - | - | - | -
| Compactness ratio |  | Aenv/VH;g |  | m-1 | 0.5 | 1.03 | 0.3 | 0.41 | 0.66
| WWR – North orientation |  | WWRN |  | - | - | - | - | - | -
| WWR – South orientation |  | WWRS |  | - | - | - | - | - | -
| WWR – East orientation |  | WWRE |  | - | - | - | - | - | -
| WWR – West orientation |  | WWRW |  | - | - | - | - | - | -
| Window to useful floor area ratio |  | Awi/Ause |  | - | 0.19 | 4.23 | 0.14 | 0.17 | 0.2
ENVELOPE | Roof type |  | -
| U-value of the roof |  | Ufl;up |  | W/(m2·K) | - | - | - | - | -
| External walls type |  | Hollow brick masonry: 74%; Solid Brick masonry: 23%; Unknown: 3%
| U-value of the wall |  | Uwl |  | W/(m2·K) | - | - | - | - | -
| Slab on ground floor type |  | -
| U-value of the floor |  | Ufl;lw |  | W/(m2·K) | - | - | - | - | -
| Windows type |  | -
| U-value of the windows |  | UW |  | W/(m2·K) | 3.34 | 1.28 | 2.33 | 3.14 | 4.51
| Shading system type |  | -
GAINS and VENTILATION | Occupancy density * |  | OC |  | person/m2 | UNI EN 16798-1 - Table A.19
| Lighting power density * |  | WL |  | W/m2 | UNI EN 16798-1 - A.8.3
| Equipment power density * |  | WA |  | W/m2 | UNI EN 16798-1 - A.8.3
| Type of ventilation |  | Natural: 100%
| Air exchange rate * |  | n |  | h-1 | 0.3 | 0 | 0.3 | 0.3 | 0.3
THERMAL SYSTEMS | Heating system type |  | Centralized: 69%; Autonomous: 31%
| Heating generator |  | -
| Daily operating time of the heating system * |  | tH | h |  | 14 | 0 | 14 | 14 | 14
| Energy carrier |  | Natural Gas: 80%; Electricity: 7%; District heating: 6%; Solid biomass: 4%; LPG: 2%; Gas Oil: 1%
| Heating emission sub-system |  | -
| Cooling system type |  | -
| Daily operating time of the cooling system * |  | tC | h |  | - | - |  | - | -
| Cooling emission sub-system |  | -
| DHW system type |  | Autonomous, detached from heating: 70%; Autonomous, coupled with heating: 22%; Centralized, coupled with heating: 6%; Centralized, detached from heating: 2%
| DHW generator |  | -
* These values are derived from UNI EN ISO Standards
ADDITIONAL DATA
| Data | Symbol | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
GEOMETRY: apartments | Inter-storey height | Hn | m | - | - | - | - | -
| Heated gross floor area | AH;g | m2 | - | - | - | - | -
| Heated net floor area | AH;n | m2 | 71.1 | 42 | 49.9 | 64.7 | 81
| Heated gross volume | VH;g | m3 | 279 | 171.1 | 195.5 | 251 | 317.6
| Heated net volume | VH;n | m3 | - | - | - | - | -
THERMAL SYSTEMS | Heating efficiency or COP | ηH;gen or COPH;gen | - | This value has to be retrieved from suitable datasheets
| Total heating power * | PH;gen | kW | 23 | 7.3 | 22.9 | 24 | 26.2
| Cooling efficiency or EER | ηC;gen or EERC;gen | - | This value has to be retrieved from suitable datasheets
| Total cooling power * | PC;gen | kW | 4.4 | 3 | 2.6 | 3.5 | 5
| Temperature of DHW | ϑW | °C | 40 | 0 | 40 | 40 | 40
| DHW system power * | PW;gen | kW | 14.8 | 10.3 | 1.5 | 19.2 | 24
* These values refer to the apartment scale

## 1961-1970
Region: | Piedmont | [7 empty] | Archetype code: | RES_APPBLOCK_1961-1970_E_PIE
Building category: | Residential buildings - Apartments (in multifamily blocks)
Period of construction: | 1961-1970
Climatic zone: | E |  |  | Number of records: |  | 76504
Description (the codes associated with walls and slabs refer to the structures described in UNI/TR 11552:2014): | [8 empty] | Data sources:
| External walls: hollow brick masonry with air gap (cod. MCV01). | [8 empty] | EPC databases (100%)
Roof slabs: reinforced concrete floor slab (cod. SOL04).
| Data |  | Symbol |  | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
BUILDING GEOMETRY | Number of floors |  | nf |  | - | - | - | - | - | -
| Gross height |  | Hg |  | m | - | - | - | - | -
| Footprint area |  | Afootprint |  | m2 | - | - | - | - | -
| Heated gross floor area |  | AH;g |  | m2 | - | - | - | - | -
| Heated net floor area |  | AH;n |  | m2 | - | - | - | - | -
| Heated gross volume |  | VH;g |  | m3 | - | - | - | - | -
| Heated net volume |  | VH;n |  | m3 | - | - | - | - | -
| Compactness ratio |  | Aenv/VH;g |  | m-1 | 0.5 | 0.38 | 0.3 | 0.42 | 0.66
| WWR – North orientation |  | WWRN |  | - | - | - | - | - | -
| WWR – South orientation |  | WWRS |  | - | - | - | - | - | -
| WWR – East orientation |  | WWRE |  | - | - | - | - | - | -
| WWR – West orientation |  | WWRW |  | - | - | - | - | - | -
| Window to useful floor area ratio |  | Awi/Ause |  | - | 0.17 | 0.13 | 0.14 | 0.17 | 0.2
ENVELOPE | Roof type |  | -
| U-value of the roof |  | Ufl;up |  | W/(m2·K) | - | - | - | - | -
| External walls type |  | Hollow brick masonry: 80%; Solid Brick masonry: 17%; Unknown: 2%; Prefabricated panels: 1%
| U-value of the wall |  | Uwl |  | W/(m2·K) | - | - | - | - | -
| Slab on ground floor type |  | -
| U-value of the floor |  | Ufl;lw |  | W/(m2·K) | - | - | - | - | -
| Windows type |  | -
| U-value of the windows |  | UW |  | W/(m2·K) | 3.38 | 1.31 | 2.32 | 3.16 | 4.58
| Shading system type |  | -
GAINS and VENTILATION | Occupancy density * |  | OC |  | person/m2 | UNI EN 16798-1 - Table A.19
| Lighting power density * |  | WL |  | W/m2 | UNI EN 16798-1 - A.8.3
| Equipment power density * |  | WA |  | W/m2 | UNI EN 16798-1 - A.8.3
| Type of ventilation |  | Natural: 100%
| Air exchange rate * |  | n |  | h-1 | 0.3 | 0 | 0.3 | 0.3 | 0.3
THERMAL SYSTEMS | Heating system type |  | Centralized: 73%; Autonomous: 27%
| Heating generator |  | -
| Daily operating time of the heating system * |  | tH | h |  | 14 | 0 | 14 | 14 | 14
| Energy carrier |  | Natural Gas: 80%; Electricity: 7%; District heating: 6%; Solid biomass: 4%; LPG: 2%; Gas Oil: 2%
| Heating emission sub-system |  | -
| Cooling system type |  | -
| Daily operating time of the cooling system * |  | tC | h |  | - | - |  | - | -
| Cooling emission sub-system |  | -
| DHW system type |  | Autonomous, detached from heating: 66%; Autonomous, coupled with heating: 20%; Centralized, coupled with heating: 10%; Centralized, detached from heating: 4%
| DHW generator |  | -
* These values are derived from UNI EN ISO Standards
ADDITIONAL DATA
| Data | Symbol | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
GEOMETRY: apartments | Inter-storey height | Hn | m | - | - | - | - | -
| Heated gross floor area | AH;g | m2 | - | - | - | - | -
| Heated net floor area | AH;n | m2 | 76.7 | 34.6 | 55.4 | 70.4 | 88
| Heated gross volume | VH;g | m3 | 297.3 | 143.5 | 215.8 | 271.7 | 339.4
| Heated net volume | VH;n | m3 | - | - | - | - | -
THERMAL SYSTEMS | Heating efficiency or COP | ηH;gen or COPH;gen | - | This value has to be retrieved from suitable datasheets
| Total heating power * | PH;gen | kW | 22.9 | 7.5 | 22 | 24 | 27
| Cooling efficiency or EER | ηC;gen or EERC;gen | - | This value has to be retrieved from suitable datasheets
| Total cooling power * | PC;gen | kW | 4.6 | 3.3 | 2.7 | 3.5 | 5.2
| Temperature of DHW | ϑW | °C | 40 | 0 | 40 | 40 | 40
| DHW system power * | PW;gen | kW | 15 | 10.3 | 1.5 | 19.2 | 24
* These values refer to the apartment scale

## 1971-1980
Region: | Piedmont | [7 empty] | Archetype code: | RES_APPBLOCK_1971-1980_E_PIE
Building category: | Residential buildings - Apartments (in multifamily blocks)
Period of construction: | 1971-1980
Climatic zone: | E |  |  | Number of records: |  | 33754
Description (the codes associated with walls and slabs refer to the structures described in UNI/TR 11552:2014): | [8 empty] | Data sources:
| External walls: hollow brick masonry with thermal insulation (cod. MCV02). | [8 empty] | EPC databases (100%)
Roof slabs: reinforced concrete floor slab (cod. SOL04).
| Data |  | Symbol |  | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
BUILDING GEOMETRY | Number of floors |  | nf |  | - | - | - | - | - | -
| Gross height |  | Hg |  | m | - | - | - | - | -
| Footprint area |  | Afootprint |  | m2 | - | - | - | - | -
| Heated gross floor area |  | AH;g |  | m2 | - | - | - | - | -
| Heated net floor area |  | AH;n |  | m2 | - | - | - | - | -
| Heated gross volume |  | VH;g |  | m3 | - | - | - | - | -
| Heated net volume |  | VH;n |  | m3 | - | - | - | - | -
| Compactness ratio |  | Aenv/VH;g |  | m-1 | 0.56 | 1.06 | 0.34 | 0.56 | 0.71
| WWR – North orientation |  | WWRN |  | - | - | - | - | - | -
| WWR – South orientation |  | WWRS |  | - | - | - | - | - | -
| WWR – East orientation |  | WWRE |  | - | - | - | - | - | -
| WWR – West orientation |  | WWRW |  | - | - | - | - | - | -
| Window to useful floor area ratio |  | Awi/Ause |  | - | 0.17 | 0.06 | 0.14 | 0.17 | 0.2
ENVELOPE | Roof type |  | -
| U-value of the roof |  | Ufl;up |  | W/(m2·K) | - | - | - | - | -
| External walls type |  | Hollow brick masonry: 79%; Solid Brick masonry: 17%; Unknown: 2%; Prefabricated panels: 1%
| U-value of the wall |  | Uwl |  | W/(m2·K) | - | - | - | - | -
| Slab on ground floor type |  | -
| U-value of the floor |  | Ufl;lw |  | W/(m2·K) | - | - | - | - | -
| Windows type |  | -
| U-value of the windows |  | UW |  | W/(m2·K) | 3.28 | 1.29 | 2.28 | 3.1 | 4.49
| Shading system type |  | -
GAINS and VENTILATION | Occupancy density * |  | OC |  | person/m2 | UNI EN 16798-1 - Table A.19
| Lighting power density * |  | WL |  | W/m2 | UNI EN 16798-1 - A.8.3
| Equipment power density * |  | WA |  | W/m2 | UNI EN 16798-1 - A.8.3
| Type of ventilation |  | Natural: 100%
| Air exchange rate * |  | n |  | h-1 | 0.3 | 0 | 0.3 | 0.3 | 0.3
THERMAL SYSTEMS | Heating system type |  | Centralized: 57%; Autonomous: 43%
| Heating generator |  | -
| Daily operating time of the heating system * |  | tH | h |  | 14 | 0 | 14 | 14 | 14
| Energy carrier |  | Natural Gas: 80%; Electricity: 7%; District heating: 5%; Solid biomass: 4%; LPG: 2%; Gas Oil: 2%
| Heating emission sub-system |  | -
| Cooling system type |  | -
| Daily operating time of the cooling system * |  | tC | h |  | - | - |  | - | -
| Cooling emission sub-system |  | -
| DHW system type |  | Autonomous, detached from heating: 38%; Autonomous, coupled with heating: 36%; Centralized, coupled with heating: 19%; Centralized, detached from heating: 7%
| DHW generator |  | -
* These values are derived from UNI EN ISO Standards
ADDITIONAL DATA
| Data | Symbol | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
GEOMETRY: apartments | Inter-storey height | Hn | m | - | - | - | - | -
| Heated gross floor area | AH;g | m2 | - | - | - | - | -
| Heated net floor area | AH;n | m2 | 87.1 | 40.5 | 64.9 | 80 | 99.1
| Heated gross volume | VH;g | m3 | 333.9 | 167.7 | 244.4 | 303.6 | 379.1
| Heated net volume | VH;n | m3 | - | - | - | - | -
THERMAL SYSTEMS | Heating efficiency or COP | ηH;gen or COPH;gen | - | This value has to be retrieved from suitable datasheets
| Total heating power * | PH;gen | kW | 6.1 | 23.6 | 24 | 0 | 28
| Cooling efficiency or EER | ηC;gen or EERC;gen | - | This value has to be retrieved from suitable datasheets
| Total cooling power * | PC;gen | kW | 5 | 3.6 | 3 | 3.8 | 6
| Temperature of DHW | ϑW | °C | 40 | 0 | 40 | 40 | 40
| DHW system power * | PW;gen | kW | 18.6 | 10.1 | 12 | 23.1 | 24.5
* These values refer to the apartment scale

## 1981-1990
Region: | Piedmont | [7 empty] | Archetype code: | RES_APPBLOCK_1981-1990_E_PIE
Building category: | Residential buildings - Apartments (in multifamily blocks)
Period of construction: | 1981-1990
Climatic zone: | E |  |  | Number of records: |  | 14645
Description (the codes associated with walls and slabs refer to the structures described in UNI/TR 11552:2014): | [8 empty] | Data sources:
| External walls: hollow brick masonry with thermal insulation (cod. MCV02). | [8 empty] | EPC databases (100%)
Roof slabs: reinforced concrete floor slab (cod. SOL04).
| Data |  | Symbol |  | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
BUILDING GEOMETRY | Number of floors |  | nf |  | - | - | - | - | - | -
| Gross height |  | Hg |  | m | - | - | - | - | -
| Footprint area |  | Afootprint |  | m2 | - | - | - | - | -
| Heated gross floor area |  | AH;g |  | m2 | - | - | - | - | -
| Heated net floor area |  | AH;n |  | m2 | - | - | - | - | -
| Heated gross volume |  | VH;g |  | m3 | - | - | - | - | -
| Heated net volume |  | VH;n |  | m3 | - | - | - | - | -
| Compactness ratio |  | Aenv/VH;g |  | m-1 | 0.58 | 0.25 | 0.37 | 0.59 | 0.73
| WWR – North orientation |  | WWRN |  | - | - | - | - | - | -
| WWR – South orientation |  | WWRS |  | - | - | - | - | - | -
| WWR – East orientation |  | WWRE |  | - | - | - | - | - | -
| WWR – West orientation |  | WWRW |  | - | - | - | - | - | -
| Window to useful floor area ratio |  | Awi/Ause |  | - | 0.16 | 0.09 | 0.13 | 0.16 | 0.19
ENVELOPE | Roof type |  | -
| U-value of the roof |  | Ufl;up |  | W/(m2·K) | - | - | - | - | -
| External walls type |  | Hollow brick masonry: 74%; Solid Brick masonry: 21%; Prefabricated panels: 3%; Unknown: 2%
| U-value of the wall |  | Uwl |  | W/(m2·K) | - | - | - | - | -
| Slab on ground floor type |  | -
| U-value of the floor |  | Ufl;lw |  | W/(m2·K) | - | - | - | - | -
| Windows type |  | -
| U-value of the windows |  | UW |  | W/(m2·K) | 2.97 | 1.03 | 2.31 | 2.88 | 3.3
| Shading system type |  | -
GAINS and VENTILATION | Occupancy density * |  | OC |  | person/m2 | UNI EN 16798-1 - Table A.19
| Lighting power density * |  | WL |  | W/m2 | UNI EN 16798-1 - A.8.3
| Equipment power density * |  | WA |  | W/m2 | UNI EN 16798-1 - A.8.3
| Type of ventilation |  | Natural: 100%
| Air exchange rate * |  | n |  | h-1 | 0.3 | 0 | 0.3 | 0.3 | 0.3
THERMAL SYSTEMS | Heating system type |  | Autonomous: 76%; Centralized: 24%
| Heating generator |  | -
| Daily operating time of the heating system * |  | tH | h |  | 14 | 0 | 14 | 14 | 14
| Energy carrier |  | Natural Gas: 79%; Electricity: 7%; District heating: 5%; Solid biomass: 4%; LPG: 3%; Gas Oil: 2%
| Heating emission sub-system |  | -
| Cooling system type |  | -
| Daily operating time of the cooling system * |  | tC | h |  | - | - |  | - | -
| Cooling emission sub-system |  | -
| DHW system type |  | Autonomous, coupled with heating: 69%; Autonomous, detached from heating: 19%; Centralized, coupled with heating: 10%; Centralized, detached from heating: 2%
| DHW generator |  | -
* These values are derived from UNI EN ISO Standards
ADDITIONAL DATA
| Data | Symbol | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
GEOMETRY: apartments | Inter-storey height | Hn | m | - | - | - | - | -
| Heated gross floor area | AH;g | m2 | - | - | - | - | -
| Heated net floor area | AH;n | m2 | 90.6 | 45.8 | 66.9 | 81.7 | 101.5
| Heated gross volume | VH;g | m3 | 339 | 188.6 | 244.7 | 300.5 | 381
| Heated net volume | VH;n | m3 | - | - | - | - | -
THERMAL SYSTEMS | Heating efficiency or COP | ηH;gen or COPH;gen | - | This value has to be retrieved from suitable datasheets
| Total heating power * | PH;gen | kW | 4.4 | 23 | 8 | 24 | 26.6
| Cooling efficiency or EER | ηC;gen or EERC;gen | - | This value has to be retrieved from suitable datasheets
| Total cooling power * | PC;gen | kW | 4.7 | 3.6 | 3 | 3.5 | 5.2
| Temperature of DHW | ϑW | °C | 40 | 0 | 40 | 40 | 40
| DHW system power * | PW;gen | kW | 22.5 | 7.6 | 23 | 24 | 25.8
* These values refer to the apartment scale

## 1991-2000
Region: | Piedmont | [7 empty] | Archetype code: | RES_APPBLOCK_1991-2000_E_PIE
Building category: | Residential buildings - Apartments (in multifamily blocks)
Period of construction: | 1991-2000
Climatic zone: | E |  |  | Number of records: |  | 12567
Description (the codes associated with walls and slabs refer to the structures described in UNI/TR 11552:2014): | [8 empty] | Data sources:
| External walls: hollow brick masonry with thermal insulation (cod. MCV02). | [8 empty] | EPC databases (100%)
Roof slabs: reinforced concrete floor slab (cod. SOL04).
| Data |  | Symbol |  | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
BUILDING GEOMETRY | Number of floors |  | nf |  | - | - | - | - | - | -
| Gross height |  | Hg |  | m | - | - | - | - | -
| Footprint area |  | Afootprint |  | m2 | - | - | - | - | -
| Heated gross floor area |  | AH;g |  | m2 | - | - | - | - | -
| Heated net floor area |  | AH;n |  | m2 | - | - | - | - | -
| Heated gross volume |  | VH;g |  | m3 | - | - | - | - | -
| Heated net volume |  | VH;n |  | m3 | - | - | - | - | -
| Compactness ratio |  | Aenv/VH;g |  | m-1 | 0.62 | 2.86 | 0.38 | 0.59 | 0.73
| WWR – North orientation |  | WWRN |  | - | - | - | - | - | -
| WWR – South orientation |  | WWRS |  | - | - | - | - | - | -
| WWR – East orientation |  | WWRE |  | - | - | - | - | - | -
| WWR – West orientation |  | WWRW |  | - | - | - | - | - | -
| Window to useful floor area ratio |  | Awi/Ause |  | - | 0.28 | 11.11 | 0.13 | 0.16 | 0.19
ENVELOPE | Roof type |  | -
| U-value of the roof |  | Ufl;up |  | W/(m2·K) | - | - | - | - | -
| External walls type |  | Hollow brick masonry: 76%; Solid Brick masonry: 21%; Unknown: 2%; Prefabricated panels: 1%
| U-value of the wall |  | Uwl |  | W/(m2·K) | - | - | - | - | -
| Slab on ground floor type |  | -
| U-value of the floor |  | Ufl;lw |  | W/(m2·K) | - | - | - | - | -
| Windows type |  | -
| U-value of the windows |  | UW |  | W/(m2·K) | 2.67 | 0.75 | 2.2 | 2.76 | 3.03
| Shading system type |  | -
GAINS and VENTILATION | Occupancy density * |  | OC |  | person/m2 | UNI EN 16798-1 - Table A.19
| Lighting power density * |  | WL |  | W/m2 | UNI EN 16798-1 - A.8.3
| Equipment power density * |  | WA |  | W/m2 | UNI EN 16798-1 - A.8.3
| Type of ventilation |  | Natural: 100%
| Air exchange rate * |  | n |  | h-1 | 0.3 | 0 | 0.3 | 0.3 | 0.3
THERMAL SYSTEMS | Heating system type |  | Autonomous: 96%; Centralized: 4%
| Heating generator |  | -
| Daily operating time of the heating system * |  | tH | h |  | 14 | 0 | 14 | 14 | 14
| Energy carrier |  | Natural Gas: 79%; Electricity: 7%; District heating: 5%; Solid biomass: 4%; LPG: 3%; Gas Oil: 2%
| Heating emission sub-system |  | -
| Cooling system type |  | -
| Daily operating time of the cooling system * |  | tC | h |  | - | - |  | - | -
| Cooling emission sub-system |  | -
| DHW system type |  | Autonomous, coupled with heating: 91%; Autonomous, detached from heating: 4%; Centralized, coupled with heating: 4%; Centralized, detached from heating: 1%
| DHW generator |  | -
* These values are derived from UNI EN ISO Standards
ADDITIONAL DATA
| Data | Symbol | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
GEOMETRY: apartments | Inter-storey height | Hn | m | - | - | - | - | -
| Heated gross floor area | AH;g | m2 | - | - | - | - | -
| Heated net floor area | AH;n | m2 | 94.9 | 48.9 | 65.5 | 83.1 | 109.5
| Heated gross volume | VH;g | m3 | 350.3 | 187.2 | 239.4 | 304.1 | 406.2
| Heated net volume | VH;n | m3 | - | - | - | - | -
THERMAL SYSTEMS | Heating efficiency or COP | ηH;gen or COPH;gen | - | This value has to be retrieved from suitable datasheets
| Total heating power * | PH;gen | kW | 25 | 3.7 | 23.8 | 24 | 26.6
| Cooling efficiency or EER | ηC;gen or EERC;gen | - | This value has to be retrieved from suitable datasheets
| Total cooling power * | PC;gen | kW | 5.1 | 4 | 2.9 | 3.5 | 5.9
| Temperature of DHW | ϑW | °C | 40 | 0 | 40 | 40 | 40
| DHW system power * | PW;gen | kW | 24.6 | 4.7 | 23.7 | 24 | 26.3
* These values refer to the apartment scale

## 2001-2010
Region: | Piedmont | [7 empty] | Archetype code: | RES_APPBLOCK_2001-2010_E_PIE
Building category: | Residential buildings - Apartments (in multifamily blocks)
Period of construction: | 2001-2010
Climatic zone: | E |  |  | Number of records: |  | 18517
Description (the codes associated with walls and slabs refer to the structures described in UNI/TR 11552:2014): | [8 empty] | Data sources:
| External walls: hollow brick masonry with thermal insulation (cod. MCV02). | [8 empty] | EPC databases (100%)
Roof slabs: reinforced concrete floor slab (cod. SOL04).
| Data |  | Symbol |  | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
BUILDING GEOMETRY | Number of floors |  | nf |  | - | - | - | - | - | -
| Gross height |  | Hg |  | m | - | - | - | - | -
| Footprint area |  | Afootprint |  | m2 | - | - | - | - | -
| Heated gross floor area |  | AH;g |  | m2 | - | - | - | - | -
| Heated net floor area |  | AH;n |  | m2 | - | - | - | - | -
| Heated gross volume |  | VH;g |  | m3 | - | - | - | - | -
| Heated net volume |  | VH;n |  | m3 | - | - | - | - | -
| Compactness ratio |  | Aenv/VH;g |  | m-1 | 0.58 | 0.33 | 0.39 | 0.58 | 0.72
| WWR – North orientation |  | WWRN |  | - | - | - | - | - | -
| WWR – South orientation |  | WWRS |  | - | - | - | - | - | -
| WWR – East orientation |  | WWRE |  | - | - | - | - | - | -
| WWR – West orientation |  | WWRW |  | - | - | - | - | - | -
| Window to useful floor area ratio |  | Awi/Ause |  | - | 0.17 | 0.17 | 0.13 | 0.17 | 0.2
ENVELOPE | Roof type |  | -
| U-value of the roof |  | Ufl;up |  | W/(m2·K) | - | - | - | - | -
| External walls type |  | Hollow brick masonry: 78%; Solid Brick masonry: 19%; Unknown: 2%; Prefabricated panels: 1%
| U-value of the wall |  | Uwl |  | W/(m2·K) | - | - | - | - | -
| Slab on ground floor type |  | -
| U-value of the floor |  | Ufl;lw |  | W/(m2·K) | - | - | - | - | -
| Windows type |  | -
| U-value of the windows |  | UW |  | W/(m2·K) | 2.44 | 0.68 | 1.96 | 2.43 | 2.86
| Shading system type |  | -
GAINS and VENTILATION | Occupancy density * |  | OC |  | person/m2 | UNI EN 16798-1 - Table A.19
| Lighting power density * |  | WL |  | W/m2 | UNI EN 16798-1 - A.8.3
| Equipment power density * |  | WA |  | W/m2 | UNI EN 16798-1 - A.8.3
| Type of ventilation |  | Natural: 100%
| Air exchange rate * |  | n |  | h-1 | 0.3 | 0 | 0.3 | 0.3 | 0.3
THERMAL SYSTEMS | Heating system type |  | Autonomous: 82%; Centralized: 18%
| Heating generator |  | -
| Daily operating time of the heating system * |  | tH | h |  | 14 | 0 | 14 | 14 | 14
| Energy carrier |  | Natural Gas: 80%; Electricity: 6%; District heating: 6%; Solid biomass: 4%; LPG: 2%; Gas Oil: 2%
| Heating emission sub-system |  | -
| Cooling system type |  | -
| Daily operating time of the cooling system * |  | tC | h |  | - | - |  | - | -
| Cooling emission sub-system |  | -
| DHW system type |  | Autonomous, coupled with heating: 79%; Centralized, coupled with heating: 16%; Autonomous, detached from heating: 4%; Centralized, detached from heating: 1%
| DHW generator |  | -
* These values are derived from UNI EN ISO Standards
ADDITIONAL DATA
| Data | Symbol | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
GEOMETRY: apartments | Inter-storey height | Hn | m | - | - | - | - | -
| Heated gross floor area | AH;g | m2 | - | - | - | - | -
| Heated net floor area | AH;n | m2 | 80 | 42.9 | 53.7 | 70.5 | 92.1
| Heated gross volume | VH;g | m3 | 297.7 | 166.3 | 199.1 | 261.1 | 342.4
| Heated net volume | VH;n | m3 | - | - | - | - | -
THERMAL SYSTEMS | Heating efficiency or COP | ηH;gen or COPH;gen | - | This value has to be retrieved from suitable datasheets
| Total heating power * | PH;gen | kW | 24.6 | 3.7 | 23.8 | 24 | 25.8
| Cooling efficiency or EER | ηC;gen or EERC;gen | - | This value has to be retrieved from suitable datasheets
| Total cooling power * | PC;gen | kW | 5.3 | 5.2 | 3 | 3.5 | 5.3
| Temperature of DHW | ϑW | °C | 40 | 0 | 40 | 40 | 40
| DHW system power * | PW;gen | kW | 24.3 | 4.5 | 23.8 | 24 | 25.8
* These values refer to the apartment scale

## 2011-
Region: | Piedmont | [7 empty] | Archetype code: | RES_APPBLOCK_2011-_E_PIE
Building category: | Residential buildings - Apartments (in multifamily blocks)
Period of construction: | > 2010
Climatic zone: | E |  |  | Number of records: |  | 13162
Description (the codes associated with walls and slabs refer to the structures described in UNI/TR 11552:2014): | [8 empty] | Data sources:
| External walls: hollow brick masonry with thermal insulation (cod. MCV02). | [8 empty] | EPC databases (100%)
Roof slabs: reinforced concrete floor slab (cod. SOL04).
| Data |  | Symbol |  | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
BUILDING GEOMETRY | Number of floors |  | nf |  | - | - | - | - | - | -
| Gross height |  | Hg |  | m | - | - | - | - | -
| Footprint area |  | Afootprint |  | m2 | - | - | - | - | -
| Heated gross floor area |  | AH;g |  | m2 | - | - | - | - | -
| Heated net floor area |  | AH;n |  | m2 | - | - | - | - | -
| Heated gross volume |  | VH;g |  | m3 | - | - | - | - | -
| Heated net volume |  | VH;n |  | m3 | - | - | - | - | -
| Compactness ratio |  | Aenv/VH;g |  | m-1 | 0.6 | 0.23 | 0.42 | 0.61 | 0.74
| WWR – North orientation |  | WWRN |  | - | - | - | - | - | -
| WWR – South orientation |  | WWRS |  | - | - | - | - | - | -
| WWR – East orientation |  | WWRE |  | - | - | - | - | - | -
| WWR – West orientation |  | WWRW |  | - | - | - | - | - | -
| Window to useful floor area ratio |  | Awi/Ause |  | - | 0.18 | 0.07 | 0.14 | 0.17 | 0.21
ENVELOPE | Roof type |  | -
| U-value of the roof |  | Ufl;up |  | W/(m2·K) | - | - | - | - | -
| External walls type |  | Hollow brick masonry: 76%; Solid Brick masonry: 19%; Unknown: 4%; Prefabricated panels: 1%
| U-value of the wall |  | Uwl |  | W/(m2·K) | - | - | - | - | -
| Slab on ground floor type |  | -
| U-value of the floor |  | Ufl;lw |  | W/(m2·K) | - | - | - | - | -
| Windows type |  | -
| U-value of the windows |  | UW |  | W/(m2·K) | 1.75 | 0.69 | 1.33 | 1.57 | 1.96
| Shading system type |  | -
GAINS and VENTILATION | Occupancy density * |  | OC |  | person/m2 | UNI EN 16798-1 - Table A.19
| Lighting power density * |  | WL |  | W/m2 | UNI EN 16798-1 - A.8.3
| Equipment power density * |  | WA |  | W/m2 | UNI EN 16798-1 - A.8.3
| Type of ventilation |  | Natural: 100%
| Air exchange rate * |  | n |  | h-1 | 0.3 | 0 | 0.3 | 0.3 | 0.3
THERMAL SYSTEMS | Heating system type |  | Autonomous: 57%; Centralized: 43%
| Heating generator |  | -
| Daily operating time of the heating system * |  | tH | h |  | 14 | 0 | 14 | 14 | 14
| Energy carrier |  | Natural Gas: 80%; Electricity: 6%; District heating: 6%; Solid biomass: 4%; LPG: 2%; Gas Oil: 2%
| Heating emission sub-system |  | -
| Cooling system type |  | -
| Daily operating time of the cooling system * |  | tC | h |  | - | - |  | - | -
| Cooling emission sub-system |  | -
| DHW system type |  | Autonomous, coupled with heating: 47%; Centralized, coupled with heating: 32%; Autonomous, detached from heating: 13%; Centralized, detached from heating: 8%
| DHW generator |  | -
* These values are derived from UNI EN ISO Standards
ADDITIONAL DATA
| Data | Symbol | Unit of measure | Mean value | Standard deviation | Q1 (first quartile) | Median value | Q3 (third quartile)
GEOMETRY: apartments | Inter-storey height | Hn | m | - | - | - | - | -
| Heated gross floor area | AH;g | m2 | - | - | - | - | -
| Heated net floor area | AH;n | m2 | 85.6 | 46.7 | 57.2 | 75.5 | 101.4
| Heated gross volume | VH;g | m3 | 345.1 | 196 | 227.2 | 301.5 | 408.5
| Heated net volume | VH;n | m3 | - | - | - | - | -
THERMAL SYSTEMS | Heating efficiency or COP | ηH;gen or COPH;gen | - | This value has to be retrieved from suitable datasheets
| Total heating power * | PH;gen | kW | 18 | 10.1 | 7.7 | 20.6 | 25
| Cooling efficiency or EER | ηC;gen or EERC;gen | - | This value has to be retrieved from suitable datasheets
| Total cooling power * | PC;gen | kW | 8.5 | 7.4 | 4.1 | 6 | 8.7
| Temperature of DHW | ϑW | °C | 40 | 0 | 40 | 40 | 40
| DHW system power * | PW;gen | kW | 17 | 10.9 | 6.7 | 19 | 25
* These values refer to the apartment scale